## Sheet1
Normal Colon Epithelium Samples: CPTAC S019 Protocol Summary
Vanderbilt University
Methods for mass spectrometry raw data files as in VU Tissue Prep by bRPLC
Name | Analytical Sample Preparation
Type | Single Analytical Sample Protocol
Starting Amount | 200µg
Proteolysis | Trypsin
Alkylation | Iodoacetamide
Enrichment | N/A
Labelling | N/A
Fractionation | Basic Reversed Phase (references another HPLC document for details CPTAC_TCGA_BHPLC.M)
Fractions | 15
Updated | 2012-08-28
Document | VU_Tissue_Prep_By_bRPLC_1.0_20120828
Name | Chromatography
Column Type | C-18
Injected | 2 ul (~2-4ug/ul)
Column Length | 11 cm
Inside Diameter | 100mm
Particle Size | 5 mm
Particle Type | 300 Å, Phenomenex
Gradient Length | 95 min
Updated | 2012-08-28
Document | VU_Tissue_Prep_By_bRPLC_1.0_20120828
Name | Mass Spectrometry
Type | Orbitrap Mass Spectrometry Protocol
Instrument | Thermo LTQ Orbitrap Velos ion trap
Dissociation | CID
MS1 Resolution | 60000
MS2 Resolution | unit resolution
Precursors | Top 8
Collision Energy | 35
Updated | 2012-08-28
Document | VU_Tissue_Prep_By_bRPLC_1.0_20120828